## Slide 1: Risk-Sensitive Security-Constrained Economic Dispatch via Critical Region Exploration
Avinash Madavan
University of Illinois at Urbana-Champaign
madavan2@Illinois.edu
Paper No: 19PESGM2532

## Slide 2: The economic dispatch (ED) problem
Alsac and Stott ’74, Capitanescu et. al. ‘07
Adding preventive security (P-SCED)
Modeling corrective actions (C-SCED)
Monticelli et. al. ‘87, Capitanescu and Wehenkel ‘07, Capitanescu et. al. ’11, Li et. al. ’16.

## Slide 3: Risk-sensitive security-constrained economic dispatch problem (R-SCED)
Risk neutral
Risk averse
Conditional value at risk (CVaR)
IEEE 14-bus example

## Slide 4: Computational difficulties in solving SCED problems
“Resulting linear program is not solvable by traditional LP methods due to its large size.” Liu ‘15
ED and SCEDs on the 2383-bus Polish network with 2,869 lines, 327 generators, and 1,817 loads.
Formulation | Variables | Constraints
ED | 327 | 6,447
C-SCED | 947,319 | 28,949,071
R-SCED | 6,212,249 | 28,954,865
R-SCED can be written as a linear program:

## Slide 5: Critical region exploration algorithm
R-SCED can be written as:
Piecewise affine and convex in .
Critical regions
Systematically explore the pieces (critical regions) induced by the contingencies.
Multi-parametric linear program, linearly parameterized in .

## Slide 6
Compare CRE with exiting techniques for R-SCED such as Bender’s decomposition and accelerated ADMM.
Scale the algorithm for larger practical power networks (2000+ buses).
Future work